## Slide 1: Non-Invasive MRI of Blood–Cerebrospinal Fluid Barrier Function
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4

## Slide 2: Blood Cerebral Spinal Fluid Barrier (BCSFB)
Some molecules pass
  From blood to ventricles (blue)
CSF removes waste buildup
  Linked to Alzheimer’s
  Mechanically protects brain
Lack of non-invasive imaging
  Invasive is dangerous
Brightest signal in MRI T2-weighted image
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4
https://en.wikipedia.org/wiki/Ventricular_system
https://case.edu/med/neurology/NR/MRI%20Basics.htm
BCSFB
Background

## Slide 3: MRI
Images water in vivo
Contrast from molecular environment
  Water density
  T1 decay
  T2 decay – during image acquisition
Dangers
  High magnetic field
  Heat deposition
Can magnetically label blood for blood-brain barrier and BCSFB imaging
https://www.med.unc.edu/bric/camri/about-9-4t-mri/, 4/27/2021
Background

## Slide 4: Arterial spin labeling
Suppress
signal
Label blood upstream
Image blood
https://www.radiologycafe.com/radiology-trainees/frcr-physics-notes/t1-t2-and-pd-weighted-imaging
Ferre et al. Diagnostic cand Interventional Imaging 2013: https://doi.org/10.1016/j.diii.2013.06.010
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4
Blood water flows into CSF via BCSFB
Signal decay vs time allows for CSF measurement
Image CSF?
Methods

## Slide 5: Kinetic model
Quantification of blood flow and blood-to-CSF rate
Convolution of two functions:
  Blood entering a voxel as its signal decays a(t)
  Blood signal decay in voxel r(t)
  Signal decay different in CSF and blood
r(t)
a(t)
M(t)
Model based on Chappell et al. 2018
Methods

## Slide 6: Sample Preparation
Mice for histology analysis
Mice anesthetized (isoflurane)
Respiration pillow for breathing rate
Temperature monitoring (heat deposition from radiation)
9.4T
  Signal-to-noise proportional to field strength
Zhang et al. Physics in Medicine and Biology 2014
DOI: 10.1088/0031-9155/59/5/1283
Methods

## Slide 7: Validation
BCSFB measurements fit model
Vasopressin injection decreases signal
  Consistent with invasive findings
Partial labeling of blood decreases signal
  Signal is coming from labeled blood
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4
Results

## Slide 8: Validation
In aged mice:
  Blood flow decreases
  BCSFB function decreases
  Less water from blood to CSF
  Higher rates of CSF creation does not increase ventricle size
Proof of concept in humans
3-month-old 6-month-old 23-month-old
Mean lifespan: 24 months
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4
Results

## Slide 9: Critiques
Confounding factor with aging and perfusion
  More calculations to determine significance?
Evans et al. Nature Communications 2020: https://doi.org/10.1038/s41467-020-16002-4

## Slide 10: Acknowledgement
Thanks to the authors
Wikipedia for images
Beckman for blood flow image
Chappell et al. for description of kinetic model